## Sheet1
Sample | [9 empty] | 24 Mg [ He Gas ] |  |  | 7 Li ( ISTD ) [ He Gas ] |  | 45 Sc ( ISTD ) [ He Gas ] |  | 72 Ge ( ISTD ) [ He Gas ]
| Rjct | Data File | Acq. Date-Time | Type | Level | Sample Name | Total Dil. | Comment | Vial Number | Conc. [ ppb ] | Conc. RSD | Meas. Conc. [ ppb ] | CPS | CPS RSD | CPS | CPS RSD | CPS | CPS RSD
| TRUE | 001CALB.d | 2020-07-16 09:45 | CalBlk | 1 | Calibration Blank | 1 |  | 1101
| TRUE | 002CALS.d | 2020-07-16 09:49 | CalStd | 2 | 0.5 ppb / 25 ppb | 1 |  | 1102
| TRUE | 003CALS.d | 2020-07-16 09:53 | CalStd | 3 | 1.0 ppb / 100 ppb | 1 |  | 1103
| TRUE | 004CALS.d | 2020-07-16 09:56 | CalStd | 4 | 5.0 ppb / 250 ppb | 1 |  | 1104
| TRUE | 005CALS.d | 2020-07-16 10:00 | CalStd | 5 | 10 ppb / 500 ppb | 1 |  | 1105
| TRUE | 006CALS.d | 2020-07-16 10:04 | CalStd | 6 | 20 ppb / 1000 ppb | 1 |  | 1106
| TRUE | 007CALS.d | 2020-07-16 10:08 | CalStd | 5 | 10 ppb / 500 ppb | 1 |  | 1105
| TRUE | 008CALS.d | 2020-07-16 10:12 | CalStd | 7 | 50 ppb / 2500 ppb | 1 |  | 1107
| TRUE | 009CALS.d | 2020-07-16 10:15 | CalStd | 8 | 100 ppb / 5000 ppb | 1 |  | 1201
| TRUE | 010CALS.d | 2020-07-16 10:19 | CalStd | 9 | 200 ppb / 10000 ppb | 1 |  | 1202
| FALSE | 011CALS.d | 2020-07-16 10:23 | CalStd | 3 | 100 ppb (Mg) | 1 |  | 2501 | 97.9041 | 0.74988 | 97.9041 | 182.2267 | 10.5631 | 243058.0633 | 0.64874 | 133574.7533 | 0.559
| FALSE | 012CALS.d | 2020-07-16 10:26 | CalStd | 5 | 500 ppb (Mg) | 1 |  | 2502 | 498.9341 | 1.1485 | 498.9341 | 152.2267 | 13.1992 | 241237.5333 | 0.55276 | 133147.6 | 1.577
| FALSE | 013CALB.d | 2020-07-16 10:30 | CalBlk | 1 | Calibration Blank | 1 |  | 1101 | 0 | N/A | 0 | 187.78 | 13.7885 | 238528.0733 | 0.48878 | 132380.4467 | 0.55136
| FALSE | 014CALS.d | 2020-07-16 10:33 | CalStd | 6 | 1000 ppb (Mg) | 1 |  | 2503 | 989.2013 | 0.84987 | 989.2013 | 151.1167 | 10.4238 | 239364.41 | 0.94394 | 133323.56 | 0.77422
| FALSE | 015CALS.d | 2020-07-16 10:36 | CalStd | 8 | 5000 ppb (Mg) | 1 |  | 2504 | 4890.3489 | 1.224 | 4890.3489 | 175.56 | 9.3664 | 237925.62 | 0.94085 | 131032.1567 | 0.88776
| FALSE | 016CALS.d | 2020-07-16 10:40 | CalStd | 9 | 10000 ppb (Mg) | 1 |  | 2505 | 10055.9797 | 2.2967 | 10055.9797 | 160.0033 | 3.6084 | 240457.6967 | 0.47804 | 130460.7833 | 0.80496
| FALSE | 017_ICV.d | 2020-07-16 10:43 | ICV |  | ICV 20 ppb / 1000 ppb | 1 |  | 1106 | 0.75797 | 5.7023 | 0.75797 | 170.0033 | 7.0715 | 239419.72 | 0.70003 | 130125.5467 | 0.1835
| FALSE | 018New2.d | 2020-07-16 10:47 | BLK |  | Cal. Blank QC | 1 |  | 1101 | 0.0023037 | 565.6229 | 0.0023037 | 160.0033 | 19.8734 | 236338.0967 | 0.15081 | 128860.6 | 0.18464
| FALSE | 019SMPL.d | 2020-07-16 10:51 | QCS |  | QCS | 1 |  | 2101 | <0.000 | N/A | <0.000 | 180.0067 | 22.4517 | 235416.4833 | 0.4178 | 129420.4633 | 0.06862
| FALSE | 020SMPL.d | 2020-07-16 10:55 | LFB |  | LFB | 1 |  | 2102 | <0.000 | N/A | <0.000 | 182.2267 | 17.2895 | 234902.3867 | 0.31155 | 128996.8267 | 1.0728
| FALSE | 021SMPL.d | 2020-07-16 10:58 | LRB |  | LRB | 1 |  | 2103 | <0.000 | N/A | <0.000 | 173.34 | 5.769 | 237436.7633 | 9.1493 | 130461.4467 | 4.3248
| FALSE | 022SMPL.d | 2020-07-16 11:02 | Sample |  | 1 | 100 |  | 2104 | 166163.272 | 0.85385 | 1661.6327 | 203.3367 | 24.48 | 235307.6067 | 0.37924 | 129869.6333 | 0.31212
| FALSE | 023SMPL.d | 2020-07-16 11:06 | Sample |  | 2 | 100 |  | 2105 | 187346.8717 | 1.6612 | 1873.4687 | 288.8933 | 9.2541 | 239133.6533 | 0.40534 | 130809.22 | 0.61982
| FALSE | 024SMPL.d | 2020-07-16 11:09 | Sample |  | 3 | 100 |  | 2106 | 194155.1631 | 0.61982 | 1941.5516 | 478.9033 | 7.7613 | 238416.1267 | 0.68339 | 132449.17 | 0.44079
| FALSE | 025SMPL.d | 2020-07-16 11:13 | Sample |  | 4 | 100 |  | 2107 | 12034.954 | 1.1263 | 120.3495 | 156.67 | 11.8468 | 236384.33 | 0.54445 | 132952.41 | 0.061882
| FALSE | 026SMPL.d | 2020-07-16 11:17 | Sample |  | 5 | 100 |  | 2108 | 53289.928 | 1.5483 | 532.8993 | 197.7833 | 19.9655 | 239253.14 | 0.11201 | 131965.9433 | 0.15992
| FALSE | 027SMPL.d | 2020-07-16 11:20 | Sample |  | 6 | 100 |  | 2109 | 40762.2912 | 2.2725 | 407.6229 | 168.8933 | 7.4734 | 238897.24 | 1.0128 | 132006.41 | 0.84747
| FALSE | 028SMPL.d | 2020-07-16 11:24 | Sample |  | 1 | 1000 |  | 2110 | 156789.2097 | 0.66086 | 156.7892 | 163.3367 | 14.7168 | 236569.92 | 1.0953 | 132276.0833 | 0.7459
| FALSE | 029SMPL.d | 2020-07-16 11:28 | Sample |  | 2 | 1000 |  | 2111 | 155346.5896 | 0.20061 | 155.3466 | 166.67 | 7.2096 | 236469.3233 | 0.35515 | 130612.9767 | 0.75819
| FALSE | 030SMPL.d | 2020-07-16 11:31 | Sample |  | 3 | 1000 |  | 2112 | 171487.023 | 0.45728 | 171.487 | 162.2233 | 8.3054 | 237112.5433 | 0.49753 | 130626.7867 | 0.55873
| FALSE | 031_CCV.d | 2020-07-16 11:35 | CCV |  | 20 ppb / 1000 ppb | 1 |  | 1106 |  |  |  | 168.8933 | 8.2153 | 235008.22 | 0.080092 | 129621.3267 | 1.0211
| FALSE | 032_CCV.d | 2020-07-16 11:39 | CCV |  | 1000 ppb (Mg) | 1 |  | 2503 | 1091.9319 | 13.8202 | 1091.9319 | 146.6667 | 14.1932 | 219335.28 | 12.3059 | 126115.58 | 7.7676
| FALSE | 033New2.d | 2020-07-16 11:42 | BLK |  | Cal. Blank QC | 1 |  | 1101 | <0.000 | N/A | <0.000 | 178.89 | 19.9243 | 234901.2933 | 1.0577 | 131205.0967 | 0.39745
| FALSE | 034SMPL.d | 2020-07-16 12:06 | Sample |  | 4 | 1000 |  | 2201 | 11455.9552 | 0.97978 | 11.456 | 118.89 | 22.8343 | 235430.4667 | 0.86775 | 132102.74 | 0.26918
| FALSE | 035SMPL.d | 2020-07-16 12:10 | Sample |  | 5 | 1000 |  | 2202 | 50080.2237 | 0.62962 | 50.0802 | 128.89 | 23.3234 | 233537.2133 | 0.41962 | 131236.2433 | 1.518
| FALSE | 036SMPL.d | 2020-07-16 12:13 | Sample |  | 6 | 1000 |  | 2203 | 37580.2837 | 1.2697 | 37.5803 | 152.2233 | 7.0396 | 233544.2433 | 0.61197 | 130686.77 | 0.67011
| FALSE | 037SMPL.d | 2020-07-16 12:17 | Sample |  | Method Blank | 1 |  | 2512 | 0.057916 | 11.0934 | 0.057916 | 163.3367 | 10.2029 | 239148.74 | 0.44188 | 129596.52 | 0.45128
| FALSE | 038_CCV.d | 2020-07-16 12:21 | CCV |  | 20 ppb / 1000 ppb | 1 |  | 1106 |  |  |  | 171.1167 | 28.9163 | 234467.32 | 0.51457 | 129796.0367 | 0.99917
| FALSE | 039New2.d | 2020-07-16 12:24 | BLK |  | Cal. Blank QC | 1 |  | 1101 | <0.000 | N/A | <0.000 | 150 | 17.6383 | 232608.6433 | 0.71343 | 129861.9533 | 0.30082
| FALSE | 040SMPL.d | 2020-07-16 13:49 | Sample |  | 1 | 10 |  | 2201 |  |  |  | 454.4567 | 9.2871 | 227356.1467 | 0.60272 | 121407.0333 | 0.6113
| FALSE | 041SMPL.d | 2020-07-16 13:53 | Sample |  | 2 | 10 |  | 2202 |  |  |  | 1326.7367 | 1.6478 | 236186.5033 | 0.89368 | 124915.7667 | 0.27057
| FALSE | 042SMPL.d | 2020-07-16 13:56 | Sample |  | 3 | 10 |  | 2203 |  |  |  | 2965.87 | 3.678 | 241882.87 | 0.25298 | 129637.9767 | 0.46504
| FALSE | 043SMPL.d | 2020-07-16 14:00 | Sample |  | 4 | 10 |  | 2204 |  |  |  | 171.1167 | 17.6757 | 240951.3867 | 0.40646 | 130898.6633 | 0.35188
| FALSE | 044SMPL.d | 2020-07-16 14:03 | Sample |  | 5 | 10 |  | 2205 |  |  |  | 427.79 | 7.1988 | 242031.2467 | 0.66489 | 129743.3567 | 0.32221
| FALSE | 045SMPL.d | 2020-07-16 14:07 | Sample |  | 6 | 10 |  | 2206 |  |  |  | 241.1167 | 8.9961 | 240675.12 | 0.68501 | 130719.4033 | 0.87509
| FALSE | 046_CCV.d | 2020-07-16 14:11 | CCV |  | 20 ppb / 1000 ppb | 1 |  | 1106 |  |  |  | 155.56 | 1.2359 | 238524.4 | 0.76941 | 131219.3233 | 0.35868
| FALSE | 047New2.d | 2020-07-16 14:14 | BLK |  | Cal. Blank QC | 1 |  | 1101 | 0.12215 | 22.5302 | 0.12215 | 168.8933 | 15.9548 | 235362.2733 | 0.35482 | 130638.73 | 0.16648
| FALSE | 048SMPL.d | 2020-07-16 14:18 | Sample |  | 1 | 2 |  | 2207 |  |  |  | 1542.32 | 2.9427 | 237265.89 | 0.41755 | 120148.9767 | 0.1069
| FALSE | 049SMPL.d | 2020-07-16 14:21 | Sample |  | 2 | 2 |  | 2208 |  |  |  | 4890.8167 | 3.0662 | 243256.2133 | 0.32198 | 128038.34 | 0.57227
| FALSE | 050SMPL.d | 2020-07-16 14:25 | Sample |  | 3 | 2 |  | 2209 |  |  |  | 12100.3567 | 1.0494 | 262385.2333 | 0.64131 | 141308.51 | 0.54995
| FALSE | 051SMPL.d | 2020-07-16 14:28 | Sample |  | 4 | 2 |  | 2210 |  |  |  | 304.4533 | 7.2902 | 250158.9733 | 0.91649 | 130025.4233 | 0.8493
| FALSE | 052SMPL.d | 2020-07-16 14:32 | Sample |  | 5 | 2 |  | 2211 |  |  |  | 1534.5367 | 4.314 | 257750.8767 | 0.57228 | 132099.29 | 0.57255
| FALSE | 053SMPL.d | 2020-07-16 14:35 | Sample |  | 6 | 2 |  | 2212 |  |  |  | 481.1233 | 11.2647 | 249237.16 | 0.42593 | 128651.4433 | 0.70004
| FALSE | 054_CCV.d | 2020-07-16 14:39 | CCV |  | 20 ppb / 1000 ppb | 1 |  | 1106 |  |  |  | 188.89 | 6.1965 | 250443.8867 | 0.75271 | 135247.3933 | 0.36183
| FALSE | 055New2.d | 2020-07-16 14:42 | BLK |  | Cal. Blank QC | 1 |  | 1101 | 0.42521 | 12.2635 | 0.42521 | 170.0033 | 15.3122 | 245825.2333 | 1.0272 | 133625.21 | 0.31908

## ValueList_Helper (hidden)
Bkgnd
BlkVrfy
CalBlk
CalStd
CICSpike
DilStd
DriftChk
FQBlk
IsoStd
QCS (QC1)
LFB (QC2)
ICV (QC3)
CCV (QC4)
QC5
Sample
Spike
Spike Ref
SQBlk
SQISTD
SQStd
BLK
CCV
DUP
ICV
LFB
LFBD
LRB
LRBD
LRBS
QCS
Spike QC
SpikeQC2